Additional file 1. Equations automatically computed by the Vevo 2100 system.

| Description | Equation |
| --- | --- |
| Left ventricle volume in diastole (µl) | LVVd=34×LVEndoLd×LVEndoAd |
| Left ventricle volume in systole (µl) | LVVs=34×LVEndoLs×LVEndoAs |
| Left ventricle mass (mg) | LVM=1.05×56 ×LVEpiAd×LVEpiLd+Td-56×LVEndoAd×LVEndoLd |
| Endocardial area change (mm2) | EAC=LVEndoAd-LVEndoAs |
| Fractional area change (%) | FAC=LVEndoAd-LVEndoAsLVEndoAd×100 |
| Ejection fraction (%) | EF=100×LVVd-LVVsLVVd |
| Fractional shortening (%) | FS=100×LVIDd-LVIDsLVIDd |
| Stroke Volume (µl) | SV=0.785×AoD2×AoVTI |
| Cardiac output (ml/min) | CO=SV×HR (from AoD)1000 |
| Aortic valve peak pressure gradient (mmHg) | AoVPPG=4×AoVPV10002 |
| Pulmonary valve peak pressure gradient (mmHg) | PVPPG=4×PVPV10002 |
| Mitral valve peak pressure gradient (mmHg) | MVPPG=4×MVPV10002 |
| Left ventricle myocardial performance index | LVMPI=IVRT+IVCTAET |
| Tricuspid valve peak pressure gradient (mmHg) | TVPPG=4×TVPV10002 |

LVEndoL = Left ventricle endocardial length. LVEndoA = Left ventricle endocardial area. LVEpiA = Left ventricle epicardial area. LVEpiL = Left ventricle epicardial length. T = Average wall thickness. LVV = Left ventricle volume. LVID = Left ventricle internal diameter. AoD = Ascending aorta diameter. AoVTI = Ascending aorta velocity time integral. SV = Stroke volume. HR = Heart rate. AoVPV = Ascending aorta valve peak velocity. PVPV = Pulmonary valve peak velocity. MVPV = Mitral valve peak velocity. IVRT = Isovolumic relaxation time. IVCT = Isovolumic contraction time. AET = Aortic ejection time. TVPV = Tricuspid valve peak velocity. -d = In diastole. -s = In systole.